## Trichy_11_07_2024
Customer: | RBA
Project : | 10MW | [5 empty] | iGate ip: | 192.168.50.46
Location: | Trichy | [5 empty] | WMS ip: | 192.168.50.111
|  | Plant-1 (Natura power 2MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity | Ip | iD
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 2MW | 1 | 192.168.50.1 | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1 | 192.168.50.11 | 1
|  | 3 | SMB | Sky power | Kernal card | - | 8 | 192.168.50.12 | 1-8
|  | Plant-2 (Bestich 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity | Ip | iD
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1 | 192.168.50.2 | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1 | 192.168.50.13 | 1
|  | 3 | SMB | Sky power | Kernal card | - | 4 | 192.168.50.14 | 1-4
|  | Plant-3 (Selam Sri Krishna construction Co Pvt Ltd 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity | Ip | iD
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1 | 192.168.50.3 | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1 | 192.168.50.15 | 1
|  | 3 | SMB | Sky power | Kernal card | - | 4 | 192.168.50.16 | 1-4
|  | Plant-4 (Sheela Clinic 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity | Ip | iD
|  | 1 | INVERTER | SUNGROW | SUNGROW_3125HV | 290kW | 4 | 192.168.50.17 | 1-4
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1 | 192.168.50.18 | 1
|  | Plant-5 (manchunadha 3MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity | Ip | iD
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 3MW | 1 | 192.168.50.5 | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1 | 192.168.50.19 | 1
|  | 3 | SMB | Sky power | Kernal card | - | 12 | 192.168.50.20 | 1-12
|  | Plant-6 (Century 2MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity | Ip | iD
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 2MW | 1 | 192.168.50.6 | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1 | 192.168.50.21 | 1
|  | 3 | SMB | Sky power | Kernal card | - | 8 | 192.168.50.22 | 1-8